| Instruction: Please fill out this form completely and include pictures of all broken/affected parts (tube, generator, etc.) (There is room to insert pictures after Question 9). | NCM no. (to be filled out by Varex Imaging): 00000 |
| --- | --- |

| Product identification |  |
| --- | --- |
| Serial number: | Click or tap here to enter text. |
| Part number: | Click or tap here to enter text. |

Question 1: Description of the failure:

Click or tap here to enter text.

Question 2: When was the failure detected?

| ☐ | During incoming goods inspection | ☐ | During factory installation | ☐ | During testing |
| --- | --- | --- | --- | --- | --- |
| ☐ | During operation in the field | ☐ | During/Shortly after maintenance/reinstallation |  |  |
| ☐ | Other, please specify |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |  |

Question 3: How did the failure happen?

| ☐ | External damaging | ☐ | During High Voltage use |
| --- | --- | --- | --- |
| ☐ | During conditioning/seasoning | ☐ | Wrong installation |
| ☐ | Other, please specify |  |  |
| Click or tap here to enter text. |  |  |  |

Question 4: On which side was the damaged part/connector installed?

| ☐ | Tube side | ☐ | Generator side |
| --- | --- | --- | --- |

Question 5: In case of a receptacle failure: which connector/cable combination was used?

(Please, mention Serial number of Cable assembly, if available)

Click or tap here to enter text.

Question 6: What were the operating conditions?

- Maximum High voltage:

- Type of High voltage (please select):

☐ Static AC	☐ Static DC	☐ Pulsed DC									☐ Other, namely Click or tap here to enter text.

- Voltage between the pins/cores (C, L, S etc.)

- Maximum Current	:

- Operating temperature	:      °C

- Absolute pressure (e.g. vacuum or gas-filled systems) (applicable to receptacles only): Click or tap here to enter text.

Question 7: What is the Insulation medium used between

Tank & Receptacle (please select):

☐ Oil	☐ Vacuum 		☐ Other, namely Click or tap here to enter text.

Receptacle & Connector (please select):

☐ Oil	☐ Silicone washer+oil ☐ Silicone grease	☐ Other, namely Click or tap here to enter text.

Question 8: How long has the part been in operation?

| ☐ | Less than 6 months, namely | ☐ | Between 6 and 18 months |
| --- | --- | --- | --- |
| ☐ | Other, please specify |  |  |
| Click or tap here to enter text. |  |  |  |

Question 9: Is the defect visible?

| ☐ | No | ☐ | Yes, please describe below and/or mark the defect |
| --- | --- | --- | --- |
| Click or tap here to enter text. |  |  |  |

| We cannot start a returned goods inspection without a completed form (Please include pictures of all broken/affected parts (tube, generator, etc.) Include pictures here, by using the Insert tab Pictures: | NCM no. 00000 |
| --- | --- |